## HX
Reference Drawing(s): H-1-91426-004
PLC_ID | Well ID 2010 | Well ID 2011 | Well ID 2012 | Well ID 2013 | Well-ID-2014 | Well ID 2015 | Well ID 2016 | Well ID 2017 | Well ID 2018 | Well ID 2019 | Well ID 2020 | Well ID 2021 | Well ID 2022 | PLC Well | HMI | PLC ID | Flow | Well ID 2021 | Check | Commnt of change
HE01 |  | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | 199-H1-45 | HE01 | FIT_HE01_Volume | 33.4994 | 199-H1-45 | 0
HE02 |  | 199-H4-15A | 199-H4-15A | 199-H4-15 | 199-H4-15A | 199-H4-15A | 199-H4-15A | 199-H4-15A | 199-H4-15A | 199-H4-15A | 199-H4-15A | 199-H4-15A | 199-H3-35 | 199-H3-35 | HE02 | FIT_HE02_Volume | 20.9336 | 199-H4-15A | 1 | EW 199-H4-15A operated into July 2022 then converted to MW and connected RUM Well 199-H3-35 to HE02 per ECR-22-000113, completed on 9/19/2022
HE03 |  | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H4-69 | 199-H3-38 | 199-H3-38 | HE03 | FIT_HE03_Volume | 8.6532 | 199-H4-69 | 1 | EW 199-H4-69 operated into July 2022 then converted to MW and connected RUM Well 199-H3-38 to HE03 per ECR-21-001092, completed on 9/12/2022
HE04 |  | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | 199-H4-70 | HE04 | FIT_HE04_Volume | 10.2774 | 199-H4-70 | 0
HE05 |  | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | 199-H4-75 | HE05 | FIT_HE05_Volume | 13.8982 | 199-H4-75 | 0
HE06 |  | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | 199-H4-4 | HE06 | FIT_HE06_Volume | 4.1422 | 199-H4-4 | 0
HE07 |  | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H4-63 | 199-H3-37 | 199-H3-37 | HE07 | FIT_HE07_Volume | 13.9368 | 199-H4-63 | 1 | EW 199-H4-63 operated into August 2022 then converted to MW and connected RUM Well 199-H3-37 to HE07 per ECR-22-000114, completed on 9/26/2022
HE08 |  | 199-H4-64 | 199-H4-64 | 199-H4-64 | 199-H4-64 | 199-H4-64 | 199-H4-64 | 199-H4-64 | 199-H4-64 | 199-H4-64 | 199-H4-64 | 199-H3-33 | 199-H3-33 | 199-H3-33 | HE08 | FIT_HE08_Volume | 3.7924 | 199-H3-33 | RUM Well | New well 199-H3-33 to be connected as EW per ECR-21-000025; OAT completed 11/11/2021 per JCS GW-20-06094. 199-H4-64 converted from EW to MW per ECR-20-001273; work completed 5/12/2021.
HE09 |  | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | 199-H3-2C | HE09 | FIT_HE09_Volume | 18.16 | 199-H3-2C | RUM Well
HE10 |  | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | 199-H4-12C | HE10 | FIT_HE10_Volume | 36.2116 | 199-H4-12C | RUM Well
HE11 | [5 empty] | 199-H6-2 | 199-H6-2 | 199-H6-2 | 199-H6-2 | 199-H3-22 | 199-H3-22 | 199-H3-22 | 199-H3-22 | 199-H3-22 | HE11 | FIT_HE11_Volume | 24.0339 | 199-H3-22 | RUM Well | Disconnect 199-H6-2 and connect 199-H3-22 as EW per ECR-19-000451; work completed 9/3/2019 199-H6-2 converted from IW to EW Aug 2015, ECR-15-000012
HE12 | [8 empty] | 199-H3-28 | 199-H3-28 | 199-H3-28 | 199-H3-28 | 199-H3-28 | 199-H3-28 | HE12 | FIT_HE12_Volume | 36.7656 | 199-H3-28 | RUM Well | Connect new well 199-H3-28 drilled 12/2017 as EW per ECR-17-000010; work completed 6/11/2018
HE13 | [5 empty] | 199-H3-9 | 199-H3-9 | 199-H3-9 | 199-H3-9 | 199-H3-9 | 199-H3-9 | 199-H3-9 | 199-H3-9 | 199-H3-9 | HE13 | FIT_HE13_Volume | 10.1155 | 199-H3-9 | RUM Well
HE14 | [8 empty] | 199-H3-29 | 199-H3-29 | 199-H3-29 | 199-H3-29 | 199-H3-29 | 199-H3-29 | HE14 | FIT_HE14_Volume | 10.0172 | 199-H3-29 | RUM Well | Connect new well 199-H3-29 drilled 11/2017 as EW per ECR-17-000136; work completed 6/11/2018
HE15 | [9 empty] | 199-H3-21 | 199-H3-21 | 199-H3-21 | 199-H3-39 | 199-H3-39 | HE15 | FIT_HE15_Volume | 0.69123 | 199-H3-21 | 1 | EW 199-H3-21 operated into August 2022 then converted to MW and connected RUM Well 199-H3-39 to HE15 per ECR-22-000115, completed on 9/14/2022. Connect new well 199-H3-21 drilled in 2019 as EW per ECR-19-000066; work completed 7/2/2019
HE16 | [12 empty] | 199-H3-36 | 199-H3-36 | HE16 | FIT_HE16_Volume | 3.7239 |  | 1 | Connected new RUM Well 199-H3-36 to HE16 per ECR-22-000089, began pumping in August 2022
HE21 |  | 199-H1-34 | 199-H1-34 | 199-H1-34 | 199-H1-34 | 199-H1-34 | 199-H1-34 | 199-H1-34 | 199-H1-34 | 199-H1-34 | 199-H1-34 | spare | spare | spare | HE21 | FIT_HE21_Volume | 0 | spare | 0 | 199-H1-34 to be converted from EW to IW per ECR-21-000040; ECF not signed as work complete but JCS work package (GW-20-6096) status complete on August 10, 2021
HE22 |  | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | 199-H1-35 | HE22 | FIT_HE22_Volume | 17.0457 | 199-H1-35 | 0 | Add new well constructed in 2015 as EW - completed in July 2016
HE23 |  | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | 199-H1-36 | HE23 | FIT_HE23_Volume | 7.5281 | 199-H1-36 | 0
HE24 |  | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | 199-H1-37 | HE24 | FIT_HE24_Volume | 9.6473 | 199-H1-37 | 0
HE25 | [6 empty] | 199-H1-46 | 199-H1-46 | 199-H1-46 | 199-H1-46 | 199-H1-46 | 199-H1-46 | 199-H1-46 | 199-H1-46 | HE25 | FIT_HE25_Volume | 7.3094 | 199-H1-46 | 0 | Added per ECR-15-001409
HE26 |  | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | 199-H1-38 | HE26 | FIT_HE26_Volume | 2.7683 | 199-H1-38 | 0
HE27 |  | 199-H1-39 | 199-H1-39 | 199-H1-39 | 199-H1-39 | 199-H1-39 | 199-H1-39 | 199-H1-39 | 199-H1-39 | 199-H1-39 | 199-H1-39 | 199-H1-39 | spare | spare | HE27 | FIT_HE27_Volume | 0.78999 | 199-H1-39 | 1 | Well 199-H1-39 operated into February 2022 and converted from an extraction well (HE27) to an injection well (HJ19) per ECR-21-001119; work completed in June 2022.
HE28 |  | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | 199-H1-40 | HE28 | FIT_HE28_Volume | 0.010998 | 199-H1-40 | 0
HE29 |  | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | 199-H1-42 | HE29 | FIT_HE29_Volume | 12.3988 | 199-H1-42 | 0
HE30 |  | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | 199-H1-43 | HE30 | FIT_HE30_Volume | 22.6336 | 199-H1-43 | 0
HE31 |  | 199-H1-3 | 199-H1-3 | 199-H1-3 | 199-H1-3 | 199-H1-3 | 199-H1-3 | spare | spare | spare | spare | spare | spare | spare | HE31 | FIT_HE31_Volume | 0 |  | 1 | Convert 199-H1-3 from EW to MW per ECR-16-001381; work completed 3/9/2017
HE32 |  | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | 199-H1-2 | HE32 | FIT_HE32_Volume | 3.7666 | 199-H1-2 | 0
HE33 |  | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | 199-H1-1 | HE33 | FIT_HE33_Volume | 36.1675 | 199-H1-1 | 0
HE34 |  | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | 199-H4-76 | HE34 | FIT_HE34_Volume | 12.4687 | 199-H4-76 | 0
HE35 |  | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | 199-H1-4 | HE35 | FIT_HE35_Volume | 0.69935 | 199-H1-4 | 0
HE36 |  | 199-H4-77 | 199-H4-77 | 199-H4-77 | 199-H4-77 | 199-H4-77 | 199-H4-77 | 199-H4-77 | 199-H4-77 | 199-H4-77 | 199-H4-77 | 199-H1-51 | 199-H1-51 | 199-H1-51 | HE36 | FIT_HE36_Volume | 5.2502 | 199-H1-51 | 0 | 199-H1-51 to be connected as EW per ECR-21-000028; work completed and well online on 12/1/2021 199-H4-77 converted from EW to IW per ECR-19-001842; work completed on 5/5/2021.
HE37 |  | 199-H1-6 | 199-H1-6 | 199-H1-6 | 199-H1-6 | 199-H3-26 | 199-H3-26 | 199-H3-26 | 199-H3-26 | 199-H3-26 | 199-H3-26 | 199-H3-26 | 199-H3-26 | 199-H3-26 | HE37 | FIT_HE37_Volume | 0.37346 | 199-H3-26 | 0
HE38 |  | 199-H1-25 | 199-H1-25 | 199-H1-25 | 199-H1-25 | 199-H3-25 | 199-H3-25 | 199-H3-25 | 199-H3-25 | 199-H3-25 | 199-H3-25 | 199-H3-25 | 199-H3-25 | 199-H3-25 | HE38 | FIT_HE38_Volume | 11.9475 | 199-H3-25 | 0
HE39 |  | 199-H1-27 | 199-H1-27 | 199-H1-27 | 199-H1-27 | 199-H4-74 | 199-H4-74 | 199-H4-74 | 199-H4-74 | 199-H4-74 | 199-H4-74 | 199-H4-74 | 199-H4-74 | 199-H4-74 | HE39 | FIT_HE39_Volume | 15.6524 | 199-H4-74 | 0
HE40 |  | 199-H1-32 | 199-H1-32 | 199-H1-32 | 199-H1-32 | 199-H1-32 | 199-H1-32 | 199-H1-32 | 199-H1-32 | 199-H1-32 | 199-H1-32 | Spare | Spare | Spare | HE40 | FIT_HE40_Volume | 0 | Spare | 0 | 199-H1-32 converted from EW to IW per ECR-21-000162; work completed on 7/13/2021 Add new well 199-H1-32 constructed in 2015 as EW - completed in July 2016
HE41 |  | 199-H1-33 | 199-H1-33 | 199-H1-33 | 199-H1-33 | 199-H1-33 | 199-H1-33 | 199-H1-33 | 199-H1-33 | 199-H1-33 | 199-H1-33 | Spare | Spare | Spare | HE41 | FIT_HE41_Volume | 0 | Spare | 0 | 199-H1-33 converted from EW to IW per ECR-21-000165; work completed on 9/20/2021
HE42 |  | 199-H3-4 | 199-H3-4 | 199-H3-4 | 199-H3-4 | 199-H3-4 | 199-H3-4 | 199-H3-4 | 199-H3-4 | 199-H3-4 | 199-H3-4 | Spare | Spare | Spare | HE42 | FIT_HE42_Volume | 0 | Spare | 0 | 199-H3-4 cnverted from EW to IW per ECR-20-000988; work completed on 4/28/2021 Add new well 199-H3-4 constructed in 2015 as EW - completed in July 2016
HE43 | [6 empty] | 199-H4-92 | 199-H4-92 | 199-H4-92 | 199-H4-92 | 199-H4-92 | 199-H4-92 | 199-H4-92 | 199-H4-92 | HE43 | FIT_HE43_Volume | 17.0632 | 199-H4-92 | 0
HE44 | [5 empty] | 199-H4-86 | 199-H4-86 | 199-H4-86 | 199-H4-86 | 199-H4-86 | 199-H4-86 | 199-H4-86 | 199-H4-86 | 199-H4-86 | HE44 | FIT_HE44_Volume | 13.6618 | 199-H4-86 | 0
HE45 | [6 empty] | 199-H5-16 | 199-H5-16 | 199-H5-16 | 199-H5-16 | 199-H5-16 | 199-H5-16 | 199-H5-16 | 199-H5-16 | HE45 | FIT_HE45_Volume | 36.1887 | 199-H5-16 | 0
HE46 | [5 empty] | 199-H4-93 | 199-H4-93 | 199-H4-93 | 199-H4-93 | 199-H4-93 | 199-H4-93 | 199-H4-93 | 199-H4-93 | 199-H4-93 | HE46 | FIT_HE46_Volume | 12.2146 | 199-H4-93 | 0 | 199-H6-2 converted from IW to EW Aug 2015, ECR-15-000012
HE47 | [8 empty] | 199-H1-47 | 199-H1-47 | 199-H1-47 | 199-H1-47 | 199-H1-47 | 199-H1-47 | HE47 | FIT_HE47_Volume | 3.5333 | 199-H1-47 | 0 | Connect new well 199-H1-47 drilled 12/2017 as EW per ECR-17-000494; work completed 6/11/2018
HE48 | [8 empty] | 199-H1-48 | 199-H1-48 | 199-H1-48 | 199-H1-48 | 199-H1-48 | 199-H1-48 | HE48 | FIT_HE48_Volume | 6.9305 | 199-H1-48 | 0 | Connect new well 199-H1-48 drilled 12/2017 as EW per ECR-17-000536; work completed 6/11/2018
HE49 | [8 empty] | 199-H1-49 | 199-H1-49 | 199-H1-49 | 199-H1-49 | 199-H1-49 | 199-H1-49 | HE49 | FIT_HE49_Volume | 7.6355 | 199-H1-49 | 0 | Connect new well 199-H1-49 drilled 12/2017 as EW per ECR-17-000537; work completed 6/11/2018
HE50 | [12 empty] | Spare | Spare | HE50 | FIT_HE50_Volume | 0 |  | 1
HJ01 |  | 199-H6-2 | 199-H6-2 | 199-H6-2 | 199-H6-2 | 199-H6-2 | [5 empty] | 199-H1-3 | 199-H1-3 | 199-H1-3 | HJ01 | FIT_HJ01_Volume | 46.3606 | 199-H1-3 | 0 | 199-H1-3 converted from MW to IW per ECR-20-000899; work completed on 2/9/2021
HJ02 |  | 199-H4-73 | 199-H4-73 | 199-H4-73 | 199-H4-73 | 199-H4-73 | 199-H4-73 | 199-H4-73 | 199-H4-73 | 199-H4-73 | spare | 199-H3-4 | 199-H3-4 | 199-H3-4 | HJ02 | FIT_HJ02_Volume | 35.9341 | 199-H3-4 | 0 | 199-H3-4 cnverted from EW to IW per ECR-20-000988; work completed on 4/28/2021 199-H4-73 converted to MW per ECR-19-001468 and ECR-20-000881; work completed 8/27/2020
HJ03 |  | 199-H4-72 | 199-H4-72 | 199-H4-72 | 199-H4-72 | 199-H4-72 | 199-H4-72 | 199-H4-72 | 199-H4-72 | 199-H4-72 | spare | 199-H4-77 | 199-H4-77 | 199-H4-77 | HJ03 | FIT_HJ03_Volume | 23.9945 | 199-H4-77 | 0 | 199-H4-77 converted from EW to IW per ECR-19-001842; work completed on 5/5/2021. 199-H4-72 converted to MW per ECR-19-001468 and ECR-20-000881; work completed 8/27/2020
HJ04 |  | 199-H4-71 | 199-H4-71 | 199-H4-71 | 199-H4-71 | 199-H4-71 | 199-H4-71 | 199-H4-71 | 199-H4-71 | 199-H4-71 | spare | 199-H1-32 | 199-H1-32 | 199-H1-32 | HJ04 | FIT_HJ04_Volume | 15.2584 | 199-H1-32 | 0 | 199-H1-32 converted from EW to IW per ECR-21-000162; work completed on 7/13/2021 199-H1-71 converted to MW per ECR-19-001268 and ECR-20-000881; work completed 8/27/2020
HJ05 |  | 199-H4-18 | 199-H4-18 | 199-H4-18 | 199-H4-18 | 199-H4-18 | 199-H4-18 | 199-H4-18 | 199-H4-18 | 199-H4-18 | spare | 199-H1-33 | 199-H1-33 | 199-H1-33 | HJ05 | FIT_HJ05_Volume | 15.0576 | 199-H1-33 | 0 | 199-H1-33 converted from EW to IW per ECR-21-000165; work completed on 9/20/2021 Converted to MW per ECR-19-001268 and ECR-20-000881; work completed 8/27/2020
HJ06 |  | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | 199-H3-27 | HJ06 | FIT_HJ06_Volume | 18.847 | 199-H3-27 | 0
HJ07 |  | 199-H3-26 | 199-H3-26 | 199-H3-26 | 199-H3-26 | 199-H1-6 | 199-H1-6 | 199-H1-6 | 199-H1-6 | 199-H1-6 | 199-H1-6 | 199-H1-6 | 199-H1-6 | 199-H1-6 | HJ07 | FIT_HJ07_Volume | 48.0572 | 199-H1-6 | 0
HJ08 |  | 199-H3-25 | 199-H3-25 | 199-H3-25 | 199-H3-25 | 199-H1-25 | 199-H1-25 | 199-H1-25 | 199-H1-25 | 199-H1-25 | 199-H1-25 | 199-H1-25 | 199-H1-25 | 199-H1-25 | HJ08 | FIT_HJ08_Volume | 27.0545 | 199-H1-25 | 0
HJ09 |  | 199-H4-74 | 199-H4-74 | 199-H4-74 | 199-H4-74 | 199-H1-27 | 199-H1-27 | 199-H1-27 | 199-H1-27 | 199-H1-27 | 199-H1-27 | 199-H1-27 | 199-H1-27 | 199-H1-27 | HJ09 | FIT_HJ09_Volume | 37.7753 | 199-H1-27 | 0
HJ10 |  | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | 199-H4-78 | HJ10 | FIT_HJ10_Volume | 6.8571 | 199-H4-78 | 0 | Add new well constructed in 2016 as IW - completed in Sept 2016
HJ11 |  | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | 199-H4-79 | HJ11 | FIT_HJ11_Volume | 0 | 199-H4-79 | 0
HJ12 |  | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | 199-H1-21 | HJ12 | FIT_HJ12_Volume | 41.5956 | 199-H1-21 | 0
HJ13 |  | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | 199-H1-20 | HJ13 | FIT_HJ13_Volume | 32.7745 | 199-H1-20 | 0
HJ14 |  | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | 199-H4-17 | HJ14 | FIT_HJ14_Volume | 0 | 199-H4-17 | 0
HJ15 |  | 199-H4-14 | 199-H4-14 | 199-H4-14 |  |  | 699-90-45B | 699-90-45B | 699-90-45B | 699-90-45B | 699-90-45B | 699-90-45B | 699-90-45B | 699-90-45B | HJ15 | FIT_HJ15_Volume | 0 | 699-90-45B | 0
HJ16 | [9 empty] | 699-97-47C | 699-97-47C | 699-97-47C | 699-97-47C | 699-97-47C | HJ16 | FIT_HJ16_Volume | 30.206 | 699-97-47C | 0 | Add new well 699-97-47C constructed in 2019 as IW per ECR-19-000202; work completed 9/3/2019
HJ17 | [9 empty] | 199-H1-12 | 199-H1-12 | 199-H1-12 | 199-H1-12 | 199-H1-12 | HJ17 | FIT_HJ17_Volume | 26.8663 | 199-H1-12 | 0 | Connect well 199-H1-12 as IW per ECR-19-000296 ; work completed 9/3/2019
HJ18 | [11 empty] | 199-H1-34 | 199-H1-34 | 199-H1-34 | HJ18 | FIT_HJ18_Volume | 14.3896 | 199-H1-34 |  | 199-H1-34 to be converted from EW to IW per ECR-21-000040; ECF not signed as work complete but JCS work package (GW-20-6096) status complete on August 10, 2021
HJ19 | [12 empty] | 199-H1-39 | 199-H1-39 | HJ19 | FIT_HJ19_Volume | 15.7477 |  | 1 | Well 199-H1-39 operated into February 2022 and converted from an extraction well (HE27) to an injection well (HJ19) per ECR-21-001119; work completed in June 2022.
HJ21 | [12 empty] | Spare | Spare | HJ21 | FIT_HJ21_Volume | 0 |  | 1
HJ22 | [5 empty] | 199-H6-7 | 199-H6-7 | 199-H6-7 | 199-H6-7 | 199-H6-7 | 199-H6-7 | 199-H6-7 | 199-H6-7 | 199-H6-7 | HJ22 | FIT_HJ22_Volume | 0 | 199-H6-7 | 0
HJ23 | [5 empty] | 199-H6-8 | 199-H6-8 | 199-H6-8 | 199-H6-8 | 199-H6-8 | 199-H6-8 | 199-H6-8 | 199-H6-8 | 199-H6-8 | HJ23 | FIT_HJ23_Volume | 0 | 199-H6-8 | 0
HJ24 | [5 empty] | 699-95-45B | 699-95-45B | 699-95-45B | 699-95-45B | 699-95-45B | 699-95-45B | 699-95-45B | 699-95-45B | 699-95-45B | HJ24 | FIT_HJ24_Volume | 85.0182 | 699-95-45B
HJ25 | [12 empty] | Spare | Spare | HJ25 | FIT_HJ25_Volume | 0
Well has been realigned, yellow highlight represents former function prior to realignment
Well added