| **Table 4‑1. Monthly‑Average Pumping Rates CY 2022** | | | | | | | | | | | | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Well Name** | **Easting (m)** | **Northing (m)** | **System** | **Jan‑21** | **Feb‑21** | **Mar‑21** | **Apr‑21** | **May‑21** | | **Jun‑21** | **Jul‑21** | **Aug‑21** | **Sep‑21** | **Oct‑21** | **Nov‑21** | **Dec‑21** | **Operation** |
| 199-D4-38 | 572671 | 151538 | DX | -8.2 | -8.6 | -8.8 | -8.7 | -8.7 | | -9.0 | -8.6 | -8.8 | -8.8 | -8.8 | -8.6 | -8.8 | Extraction |
| 199-D4-39 | 572747 | 151651 | DX | -15.8 | -16.7 | -14.3 | -11.4 | -12.1 | | -18.2 | -17.2 | -13.3 | -10.1 | -7.2 | -9.1 | -9.9 | Extraction |
| 199-D4-83 | 572859 | 151723 | DX | -8.1 | -10.5 | -7.7 | -4.9 | -2.0 | | -12.0 | -12.7 | -9.9 | -6.6 | -4.3 | -1.1 | 0.0 | Extraction |
| 199-D4-84 | 572568 | 151434 | DX | -3.1 | -6.7 | -6.9 | -5.0 | -4.3 | | -11.4 | -11.2 | -8.1 | -5.8 | -4.3 | -4.9 | -5.4 | Extraction |
| 199-D4-85 | 572486 | 151324 | DX | -17.5 | -20.7 | -20.9 | -11.9 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | -9.7 | -19.3 | -18.2 | Extraction |
| 199-D4-95 | 572613 | 151227 | DX | -1.4 | 0.0 | -5.9 | -21.9 | -21.4 | | -19.9 | -19.1 | -20.6 | -18.0 | -11.9 | -13.4 | -13.7 | Extraction |
| 199-D4-96 | 572777 | 151520 | DX | -10.7 | -12.1 | -12.3 | -9.4 | -9.7 | | -15.7 | -17.3 | -15.6 | -10.8 | -6.2 | -7.4 | -8.7 | Extraction |
| 199-D4-97 | 572906 | 151625 | DX | -11.8 | -13.5 | -13.7 | -13.6 | -13.4 | | -13.7 | -13.3 | -13.2 | -13.8 | -13.5 | -13.2 | -13.4 | Extraction |
| 199-D4-98 | 572575 | 151482 | DX | -13.5 | -13.9 | -14.1 | -14.0 | -13.8 | | -14.2 | -13.1 | -13.1 | -11.9 | -13.1 | -12.8 | -13.2 | Extraction |
| 199-D4-99 | 572527 | 151377 | DX | -20.1 | -20.4 | -20.7 | -20.3 | -20.0 | | -18.7 | -17.4 | -18.1 | -15.5 | -17.6 | -14.9 | -16.1 | Extraction |
| 199-D5-101 | 572943 | 151522 | DX | 0.0 | 0.0 | -9.6 | -27.7 | -25.6 | | -24.7 | -21.3 | -24.8 | -23.6 | -9.1 | -15.5 | -19.7 | Extraction |
| 199-D5-127 | 572992 | 151428 | DX | -18.4 | -18.3 | -18.5 | -18.3 | -17.9 | | -17.8 | -16.8 | -17.5 | -17.5 | -17.9 | -17.0 | -17.4 | Extraction |
| 199-D5-104 | 573265 | 151422 | DX | -15.6 | -17.1 | -14.9 | -14.5 | -13.0 | | -13.0 | -16.0 | -18.3 | -15.4 | -13.9 | -15.1 | -15.4 | Extraction |
| 199-D8-53 | 573890 | 152452 | DX | -21.1 | -21.5 | -21.1 | -21.7 | -21.3 | | -20.0 | -21.0 | -18.5 | -21.6 | -21.4 | -21.1 | -21.7 | Extraction |
| 199-D8-69 | 573844 | 152552 | DX | -8.0 | -19.2 | -21.8 | -21.6 | -21.3 | | -15.6 | -20.9 | -18.4 | -21.6 | -21.5 | -20.7 | -21.6 | Extraction |
| 199-D8-99 | 574007 | 152364 | DX | -28.4 | -28.3 | -26.9 | -23.0 | -25.9 | | -41.1 | -34.8 | -33.2 | -22.8 | -17.4 | -19.9 | -22.3 | Extraction |
| *699-97-61 (RUM-2)a* | 574892 | 152914 | DX | -14.2 | -15.0 | -14.7 | -14.9 | -14.2 | | -14.3 | -15.0 | -14.9 | -14.3 | -13.5 | -13.7 | -13.1 | Extraction |
| 199-D8-68 | 573712 | 152427 | DX | -47.8 | -48.5 | -21.4 | 0.0 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Extraction |
| 199-D8-90 | 573949 | 152646 | DX | -19.9 | -20.1 | -20.7 | -20.6 | -20.3 | | -18.4 | -20.6 | -20.6 | -20.4 | -20.5 | -19.9 | -18.6 | Extraction |
| 199-D8-91 | 574037 | 152741 | DX | -18.0 | -18.3 | -23.2 | -22.0 | -21.1 | | -21.9 | -24.2 | -6.9 | 0.0 | -11.1 | -22.5 | -21.8 | Extraction |
| 199-D8-97 | 573860 | 152087 | DX | -15.7 | -16.1 | -15.3 | -14.0 | -13.9 | | -17.1 | -20.9 | -18.2 | -16.0 | -13.4 | -12.9 | -13.4 | Extraction |
| 199-D8-95 | 573612 | 152161 | DX | -19.6 | -19.8 | -18.2 | -17.3 | -17.1 | | -19.5 | -22.2 | -20.1 | -17.6 | -15.9 | -16.3 | -17.6 | Extraction |
| 199-D5-130 | 574039 | 151929 | DX | -9.4 | -9.1 | -9.0 | -8.2 | -7.9 | | -9.9 | -9.4 | -8.3 | -10.9 | -8.5 | -7.5 | -7.7 | Extraction |
| 199-D7-3 | 574151 | 152363 | DX | -15.7 | -21.7 | -22.1 | -22.0 | -21.6 | | -19.8 | -21.9 | -21.6 | -21.7 | -21.7 | -20.8 | -19.3 | Extraction |
| 199-D5-131 | 573684 | 152007 | DX | -20.3 | -18.0 | -20.3 | -20.2 | -19.9 | | -20.3 | -20.4 | -20.5 | -20.5 | -20.4 | -19.9 | -19.0 | Extraction |
| 199-D8-98 | 574013 | 152123 | DX | -21.0 | -21.4 | -21.7 | -21.5 | -21.2 | | -19.9 | -21.9 | -22.0 | -21.7 | -21.6 | -15.3 | 0.0 | Extraction |
| 199-D8-96 | 573706 | 152152 | DX | -20.1 | -20.8 | -19.3 | -17.2 | -17.2 | | -23.5 | -27.8 | -23.9 | -18.0 | -10.5 | -14.9 | -15.4 | Extraction |
| 199-H4-81 | 575237 | 153035 | DX | -16.5 | -16.9 | -17.4 | -17.3 | -17.0 | | -15.2 | -17.5 | -17.6 | -17.0 | -17.6 | -16.1 | -17.3 | Extraction |
| 199-D5-159 | 573474 | 151911 | DX | -32.0 | -31.0 | -28.8 | -29.4 | -26.7 | | -31.3 | -29.6 | -32.5 | -30.3 | -26.0 | -26.4 | -26.7 | Extraction |
| 199-D5-20 | 573240 | 152030 | DX | -2.7 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Extraction |
| 199-D5-32 | 573372 | 151903 | DX | 0.0 | -0.1 | -0.2 | -15.6 | -18.8 | | -19.0 | -18.8 | -18.1 | -17.9 | -16.3 | -15.2 | -19.1 | Extraction |
| 199-D5-39 | 573143 | 151428 | DX | -11.0 | -13.4 | -12.7 | -11.1 | -9.9 | | -10.1 | -13.3 | -14.4 | -13.7 | -11.1 | -9.7 | -10.1 | Extraction |
| 199-D5-92 | 573132 | 152010 | DX | -13.0 | -10.2 | -9.2 | -10.1 | -7.6 | | 0.0 | 0.0 | 0.0 | -1.1 | -10.7 | -15.8 | -15.9 | Extraction |
| 199-D8-88 | 573292 | 152141 | DX | 0.0 | -2.4 | -5.3 | -4.7 | -4.8 | | -5.2 | -5.3 | -5.3 | -4.5 | -3.6 | -3.7 | -3.7 | Extraction |
| 199-D8-73 | 573389 | 152167 | DX | -0.2 | 0.0 | -2.7 | -2.4 | -0.3 | | -5.0 | -5.5 | -4.6 | -2.0 | 0.0 | -1.7 | -1.8 | Extraction |
| 199-D8-89 | 573479 | 152250 | DX | -17.6 | -18.4 | -18.6 | -13.5 | -17.3 | | -24.1 | -21.7 | -14.0 | -12.7 | -9.1 | -10.6 | -10.8 | Extraction |
| 199-D4-34 | 572805 | 151590 | DX | -1.3 | -3.7 | -0.8 | -3.4 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Extraction |
| 199-D4-14 | 572840 | 151642 | DX | -15.1 | -13.4 | -15.5 | -14.4 | -13.7 | | -15.0 | -10.2 | -14.4 | -13.7 | -13.0 | -14.0 | -14.7 | Extraction |
| 199-D5-146 | 573220 | 151346 | DX | 0.0 | -4.3 | -9.7 | -9.5 | -9.5 | | -9.7 | -9.4 | -9.8 | -9.8 | -9.8 | -9.5 | -5.4 | Extraction |
| 199-D5-153 | 573330 | 151993 | DX | -28.3 | -27.2 | -28.3 | -28.1 | -27.7 | | -28.4 | -19.8 | -20.5 | -28.4 | -25.4 | -24.1 | -24.0 | Extraction |
| 199-D5-154 | 573632 | 151832 | DX | -22.4 | -24.1 | -22.5 | -21.2 | -20.0 | | -27.5 | -24.8 | -36.0 | -34.9 | -23.9 | -21.2 | -16.8 | Extraction |
| 199-D5-34 | 573240 | 151554 | DX | -34.3 | -37.6 | -35.7 | -35.1 | -35.2 | | -34.6 | -22.0 | -30.7 | -35.0 | -31.2 | -26.3 | -15.9 | Extraction |
| 199-D5-103 | 573506 | 151461 | DX | -28.1 | -26.9 | -24.7 | -22.1 | -18.3 | | -16.0 | -17.2 | -19.2 | -16.9 | -13.9 | -11.8 | -8.5 | Extraction |
| 199-D5-129 | 573736 | 151465 | DX | 100.8 | 93.7 | 99.3 | 97.3 | 84.6 | | 95.9 | 100.5 | 105.5 | 94.6 | 86.0 | 88.7 | 88.1 | Injection |
| 199-D5-128 | 573622 | 151237 | DX | 66.0 | 56.7 | 59.2 | 66.7 | 61.1 | | 68.9 | 67.0 | 63.2 | 44.4 | 41.0 | 54.9 | 54.1 | Injection |
| 199-D5-148 | 573361 | 151083 | DX | 102.2 | 85.0 | 92.5 | 95.8 | 84.6 | | 96.1 | 95.0 | 94.3 | 80.6 | 72.3 | 91.6 | 80.9 | Injection |
| 199-D5-111 | 572943 | 151281 | DX | 24.8 | 25.5 | 24.1 | 16.5 | 14.1 | | 16.1 | 15.8 | 20.6 | 22.5 | 19.6 | 16.2 | 23.4 | Injection |
| 199-D5-108 | 572923 | 151223 | DX | 20.3 | 22.3 | 21.4 | 20.8 | 18.8 | | 21.3 | 20.2 | 19.2 | 19.0 | 15.7 | 19.3 | 19.0 | Injection |
| 199-D5-20 | 573240 | 152030 | DX | 0.0 | 21.8 | 27.2 | 29.2 | 23.9 | | 26.7 | 30.7 | 35.0 | 29.1 | 26.3 | 25.0 | 27.4 | Injection |
| 699-93-48C | 575312 | 151729 | DX | 37.2 | 32.6 | 25.9 | 27.5 | 30.1 | | 34.3 | 42.4 | 32.1 | 16.2 | 14.4 | 20.6 | 18.5 | Injection |
| 199-H4-80 | 575239 | 152568 | DX | 30.4 | 28.5 | 19.9 | 24.8 | 29.3 | | 29.2 | 48.1 | 34.0 | 41.3 | 40.7 | 25.7 | 22.7 | Injection |
| 199-D8-55 | 573621 | 152364 | DX | 10.0 | 17.1 | 22.3 | 16.6 | 14.0 | | 15.4 | 13.6 | 15.0 | 13.8 | 12.7 | 18.0 | 21.6 | Injection |
| 199-D8-68 | 573712 | 152427 | DX | 0.0 | 0.0 | 3.0 | 16.5 | 19.5 | | 17.2 | 20.6 | 19.0 | 18.9 | 17.4 | 21.9 | 31.3 | Injection |
| 199-D7-5 | 574434 | 152679 | DX | 50.4 | 47.5 | 39.9 | 27.7 | 30.4 | | 33.2 | 41.0 | 30.3 | 22.1 | 19.5 | 28.5 | 38.2 | Injection |
| 199-D6-2 | 574545 | 151970 | DX | 34.8 | 55.9 | 44.5 | 44.3 | 50.5 | | 70.1 | 51.5 | 37.4 | 53.2 | 49.2 | 31.7 | 25.3 | Injection |
| 199-D7-4 | 574377 | 152370 | DX | 82.0 | 80.1 | 65.8 | 61.3 | 65.1 | | 74.4 | 42.8 | 47.6 | 55.6 | 49.4 | 33.6 | 29.2 | Injection |
| 199-D6-1 | 574130 | 151692 | DX | 16.5 | 21.1 | 17.8 | 18.5 | 19.5 | | 22.0 | 18.6 | 19.9 | 21.5 | 18.7 | 20.3 | 26.4 | Injection |
| 699-90-47B | 575298 | 150951 | DX | 21.9 | 52.7 | 59.4 | 54.4 | 46.8 | | 29.8 | 28.5 | 49.8 | 50.3 | 46.4 | 39.9 | 2.1 | Injection |
| 199-H4-82 | 574907 | 152678 | DX | 27.3 | 28.4 | 30.4 | 28.4 | 24.6 | | 26.7 | 26.0 | 26.9 | 26.2 | 24.3 | 27.4 | 30.0 | Injection |
| 199-H1-5 | 574851 | 153090 | DX | 26.9 | 23.9 | 28.3 | 21.5 | 18.9 | | 20.0 | 22.1 | 20.7 | 18.5 | 17.1 | 24.1 | 27.6 | Injection |
| 199-H1-45 | 577241 | 153062 | HX | -50.9 | -52.3 | -54.9 | -45.0 | -41.1 | | -32.6 | -26.0 | -13.8 | -13.1 | -10.7 | -24.0 | -38.1 | Extraction |
| 199-H4-15A |  |  | HX | -23.0 | -16.6 | -12.2 | -9.3 | -19.8 | | -29.9 | -8.3 | 0 | 0 | 0 | 0 | 0 | Extraction |
| *199-H3-35 (RUM-2)a* | 577911 | 153052 | HX | 0 | 0 | 0 | 0 | 0 | | 0 | 0 | -17.8 | -25.8 | -25.5 | -31.3 | -31.3 | Extraction |
| *199-H4-69* |  |  | HX | -13.7 | -13.2 | -14.6 | -12.5 | -12.2 | | -19.5 | -11.3 | 0 | 0 | 0 | 0 | 0 | Extraction |
| *199-H3-38 (RUM-2)a* | 578010 | 152687 | HX | 0 | 0 | 0 | 0 | 0 | | 0 | 0 | -0.1 | -2.0 | -1.9 | -1.8 | -1.2 | Extraction |
| 199-H4-70 | 578004 | 152646 | HX | -11.1 | -14.4 | -12.2 | -10.7 | -3.5 | | -7.1 | -11.6 | -14.3 | -11.5 | -7.9 | -7.2 | -11.9 | Extraction |
| 199-H4-75 | 577212 | 152705 | HX | -3.4 | -9.6 | -11.8 | -11.3 | -9.2 | | -13.2 | -19.8 | -18.8 | -20.1 | -19.4 | -15.9 | -13.6 | Extraction |
| 199-H4-4 | 578061 | 152854 | HX | -3.9 | -6.4 | -1.8 | 0.0 | -7.8 | | -11.3 | -10.1 | -8.3 | -0.1 | 0.0 | 0.0 | 0.0 | Extraction |
| 199-H4-63 |  |  | HX | -24.1 | -23.6 | -23.5 | -23.5 | -18.3 | | -20.5 | -14.5 | -8.9 | 0 | 0 | 0 | 0 | Extraction |
| *199-H3-37 (RUM-2)a* | 578182 | 152665 | HX | 0 | 0 | 0 | 0 | 0 | | 0 | 0 | 0 | -3.0 | -2.8 | -3.0 | -2.0 | Extraction |
| *199-H3-33 (RUM-2)a* | 577857 | 152951 | HX | -3.6 | -3.7 | -3.6 | -3.4 | -3.6 | | -4.5 | -3.0 | -2.5 | -3.5 | -4.6 | -4.7 | -4.7 | Extraction |
| *199-H3-2C (RUM-2)a* | 577632 | 152750 | HX | -20.8 | -19.8 | -18.3 | -17.1 | -16.7 | | -20.9 | -19.2 | -20.2 | -18.6 | -17.3 | -17.6 | -11.3 | Extraction |
| *199-H4-12C (RUM-2)* | 578012 | 152920 | HX | -42.3 | -41.6 | -40.9 | -39.7 | -41.0 | | -45.9 | -39.2 | -25.6 | -24.6 | -24.1 | -33.7 | -35.5 | Extraction |
| *199-H3-22 (RUM-2)a* | 577897 | 152848 | HX | -33.3 | -31.2 | -28.1 | -29.0 | -27.3 | | -24.8 | -21.4 | -16.6 | -19.6 | -17.1 | -21.5 | -18.5 | Extraction |
| *199-H3-28 (RUM-2)a* | 577655 | 152823 | HX | -46.0 | -46.0 | -46.0 | -46.0 | -44.5 | | -38.0 | -35.9 | -24.9 | -24.6 | -24.3 | -31.0 | -33.9 | Extraction |
| *199-H3-9 (RUM-2)a* | 578039 | 152914 | HX | -5.6 | -11.6 | -10.4 | -10.2 | -10.6 | | -11.7 | -11.4 | -11.3 | -9.5 | -9.3 | -8.6 | -11.1 | Extraction |
| *199-H3-29 (RUM-2)a* | 577921 | 152884 | HX | -5.5 | -11.4 | -11.7 | -10.7 | -9.8 | | -12.1 | -11.6 | -11.4 | -10.1 | -8.4 | -9.3 | -8.3 | Extraction |
| 199-H3-21 | 578128 | 152631 | HX | -1.3 | 0.0 | 0.0 | 0.0 | -1.1 | | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Extraction |
| *199-H3-36 (RUM-2)a* | 577949 | 153014 | HX | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.0 | 0.0 | -6.3 | -8.8 | -8.9 | -9.9 | -10.7 | Extraction |
| 199-H1-35 | 576958 | 153628 | HX | -21.6 | -17.3 | -15.1 | -10.6 | -21.8 | | -27.4 | -16.8 | -25.7 | -13.8 | -9.1 | -12.7 | -12.0 | Extraction |
| 199-H1-36 | 576886 | 153487 | HX | -9.7 | -9.6 | -9.0 | -3.0 | -6.0 | | -9.4 | -9.1 | -8.5 | -8.4 | -6.2 | -5.8 | -5.6 | Extraction |
| 199-H1-37 | 577107 | 153642 | HX | 0.0 | 0.0 | -7.1 | -7.2 | -13.9 | | -25.5 | -23.4 | -14.8 | -9.7 | -0.1 | -4.1 | -8.8 | Extraction |
| 199-H1-46 | 576987 | 153457 | HX | -10.0 | -10.2 | -5.5 | -7.2 | -7.7 | | -9.7 | -5.9 | -5.8 | -6.5 | -5.9 | -5.9 | -7.4 | Extraction |
| 199-H1-38 | 577161 | 153555 | HX | 0.0 | 0.0 | 0.0 | 0.0 | -0.8 | | -10.9 | -10.1 | -10.9 | -0.1 | 0.0 | 0.0 | 0.0 | Extraction |
| 199-H1-39 | 577224 | 153533 | HX | -6.2 | -3.5 | 0.0 | 0.0 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Extraction |
| 199-H1-40 | 577279 | 153500 | HX | 0.0 | 0.0 | 0.0 | 0.0 | -0.1 | | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Extraction |
| 199-H1-42 | 577127 | 153392 | HX | -15.2 | -15.0 | -12.8 | -9.5 | -12.0 | | -15.7 | -15.6 | -11.4 | -9.7 | -8.6 | -10.7 | -12.4 | Extraction |
| 199-H1-43 | 577214 | 153384 | HX | -28.8 | -29.1 | -25.3 | -20.1 | -17.2 | | -29.4 | -29.4 | -23.5 | -22.1 | -14.8 | -15.4 | -16.4 | Extraction |
| 199-H1-2 | 576451 | 153378 | HX | -4.0 | -3.7 | -3.6 | -2.8 | -3.3 | | -5.0 | -6.1 | -4.4 | -3.5 | -3.0 | -2.9 | -2.8 | Extraction |
| 199-H1-1 | 576702 | 153384 | HX | -40.2 | -40.1 | -39.6 | -40.9 | -40.7 | | -41.4 | -41.1 | -37.0 | -33.9 | -30.8 | -25.9 | -21.9 | Extraction |
| 199-H4-76 | 576787 | 152977 | HX | -4.5 | -16.0 | -16.8 | -12.5 | -10.4 | | -12.4 | -13.2 | -19.7 | -16.5 | -9.8 | -5.3 | -12.6 | Extraction |
| 199-H1-4 | 575827 | 153367 | HX | -0.9 | -1.9 | -2.0 | -0.9 | -2.0 | | -0.5 | -0.1 | 0.0 | 0.0 | -0.2 | -0.1 | 0.0 | Extraction |
| 199-H1-51 | 576725 | 153596 | HX | -3.6 | -5.5 | -5.7 | -5.1 | -5.4 | | -8.3 | -9.5 | -6.7 | -4.5 | -3.0 | -3.8 | -1.8 | Extraction |
| 199-H3-26 | 577441 | 152847 | HX | 0.0 | 0.0 | -3.9 | 0.0 | -0.2 | | -0.2 | 0.0 | 0.0 | 0.0 | -0.1 | 0.0 | 0.0 | Extraction |
| 199-H3-25 | 577410 | 152978 | HX | -75.2 | -20.2 | -21.0 | -26.9 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | -0.1 | 0.0 | 0.0 | Extraction |
| 199-H4-74 | 577239 | 152269 | HX | 0.0 | 0.0 | -6.6 | -17.3 | -14.2 | | -18.2 | -23.3 | -28.0 | -29.3 | -27.2 | -15.2 | -7.4 | Extraction |
| 199-H4-92 | 576723 | 152234 | HX | -20.7 | -20.7 | -20.7 | -20.7 | -19.9 | | -19.8 | -19.9 | -19.7 | -19.1 | -17.5 | -5.8 | 0.0 | Extraction |
| 199-H4-86 | 577705 | 152746 | HX | -4.2 | -20.8 | -20.8 | -15.3 | -11.9 | | -23.4 | -18.3 | -22.5 | -24.7 | -2.6 | 0.0 | 0.0 | Extraction |
| 199-H5-16 | 576907 | 151646 | HX | -49.4 | -49.7 | -49.6 | -49.3 | -47.9 | | -44.6 | -36.1 | -28.5 | -24.6 | -21.5 | -18.9 | -14.4 | Extraction |
| 199-H4-93 | 577026 | 152703 | HX | -5.3 | -10.1 | -12.3 | -9.4 | -7.7 | | -13.1 | -16.5 | -11.1 | -14.3 | -14.3 | -14.5 | -17.4 | Extraction |
| 199-H1-47 | 577185 | 153310 | HX | -3.2 | -4.0 | -4.8 | -3.8 | -3.6 | | -5.4 | -8.4 | -4.5 | -2.2 | -1.1 | -1.0 | -0.3 | Extraction |
| 199-H1-48 | 577185 | 153238 | HX | -4.8 | -11.4 | -10.5 | -8.1 | -8.7 | | -16.4 | -5.2 | -6.5 | -5.0 | -4.2 | -2.8 | -0.1 | Extraction |
| 199-H1-49 | 577250 | 153144 | HX | -4.2 | -7.1 | -8.8 | -7.5 | -8.2 | | -12.9 | -15.9 | -10.2 | -7.2 | -5.2 | -4.0 | -0.2 | Extraction |
| 199-H1-3 | 576163 | 153372 | HX | 51.7 | 42.4 | 45.1 | 35.4 | 46.5 | | 64.2 | 51.4 | 40.1 | 45.3 | 42.1 | 44.3 | 46.4 | Injection |
| 199-H3-4 | 577544 | 152293 | HX | 39.4 | 39.0 | 45.1 | 30.3 | 36.2 | | 58.0 | 50.1 | 46.2 | 35.8 | 24.7 | 11.3 | 12.9 | Injection |
| 199-H4-77 | 576488 | 152975 | HX | 38.8 | 38.8 | 45.2 | 32.3 | 26.9 | | 55.2 | 46.2 | 5.1 | 0.0 | 0.0 | 0.0 | 0.0 | Injection |
| 199-H1-32 | 576767 | 153766 | HX | 18.7 | 16.2 | 12.3 | 9.7 | 16.8 | | 19.8 | 20.2 | 13.9 | 14.1 | 9.6 | 14.7 | 16.9 | Injection |
| 199-H1-33 | 576833 | 153716 | HX | 21.2 | 12.1 | 16.1 | 12.1 | 14.1 | | 17.0 | 14.8 | 14.7 | 13.1 | 12.7 | 14.3 | 17.8 | Injection |
| 199-H3-27 | 577567 | 152811 | HX | 9.3 | 36.5 | 46.1 | 38.0 | 27.1 | | 40.5 | 29.8 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Injection |
| 199-H1-6 | 576038 | 153746 | HX | 39.4 | 66.2 | 76.8 | 51.3 | 47.0 | | 58.2 | 46.8 | 42.5 | 40.4 | 36.9 | 38.2 | 33.5 | Injection |
| 199-H1-25 | 576280 | 154070 | HX | 17.9 | 31.7 | 33.7 | 34.9 | 32.1 | | 37.3 | 24.2 | 24.4 | 31.2 | 27.9 | 18.0 | 11.9 | Injection |
| 199-H1-27 | 576404 | 154024 | HX | 32.3 | 46.0 | 56.9 | 42.5 | 34.4 | | 47.5 | 40.2 | 36.8 | 32.9 | 29.7 | 31.2 | 23.6 | Injection |
| 199-H4-78 | 576168 | 152166 | HX | 28.9 | 55.8 | 1.3 | 0.0 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Injection |
| 199-H1-21 | 575897 | 154164 | HX | 93.2 | 42.0 | 28.2 | 53.4 | 42.3 | | 34.8 | 31.6 | 72.5 | 37.4 | 22.1 | 21.7 | 18.4 | Injection |
| 199-H1-20 | 575706 | 154184 | HX | 61.7 | 38.8 | 34.5 | 48.0 | 47.0 | | 25.2 | 17.2 | 36.3 | 28.8 | 19.3 | 17.2 | 18.9 | Injection |
| 699-97-47C | 575286 | 153609 | HX | 20.2 | 24.0 | 15.8 | 31.3 | 26.5 | | 36.0 | 51.2 | 52.6 | 35.1 | 22.1 | 29.0 | 18.0 | Injection |
| 199-H1-12 | 576598 | 153899 | HX | 45.3 | 24.9 | 21.3 | 36.1 | 30.2 | | 35.9 | 31.2 | 14.7 | 25.2 | 19.9 | 14.3 | 21.9 | Injection |
| 199-H1-34 | 576883 | 153667 | HX | 11.1 | 15.4 | 15.1 | 8.6 | 14.9 | | 22.2 | 19.1 | 15.8 | 12.0 | 6.0 | 14.2 | 18.1 | Injection |
| 199-H1-39 | 577224 | 153533 | HX | 0.0 | 0.0 | 28.0 | 13.1 | 21.9 | | 26.0 | 24.5 | 14.4 | 13.2 | 7.4 | 15.6 | 23.1 | Injection |
| 699-95-45B | 576366 | 152780 | HX | 81.8 | 77.2 | 79.9 | 79.4 | 76.3 | | 79.1 | 81.1 | 84.5 | 94.7 | 94.7 | 94.8 | 94.6 | Injection |
| *199-H3-39 (RUM-2)a* | 578128 | 152637 | HX | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.0 | -0.1 | -2.4 | -0.7 | -0.9 | -0.4 | 0.0 | Extraction |
| 199-K-178 | 568963 | 146954 | KX | -13.8 | -24.0 | -35.8 | -39.0 | -39.0 | | -38.2 | -38.7 | -32.3 | -38.7 | -38.1 | -35.9 | -36.1 | Extraction |
| 199-K-210 | 569058 | 147155 | KX | -38.1 | -25.0 | -48.7 | -54.7 | -53.0 | | -53.0 | -47.4 | -36.0 | -51.3 | -53.5 | -55.0 | -53.3 | Extraction |
| 199-K-234 | 569006 | 146874 | KX | -36.5 | -25.0 | -56.6 | -64.9 | -65.0 | | -65.0 | -64.5 | -55.7 | -65.3 | -64.8 | -64.1 | -62.1 | Extraction |
| 199-K-220 | 569356 | 146418 | KX | -38.4 | -27.5 | -37.9 | -49.5 | -49.7 | | -48.2 | -52.1 | -43.9 | -65.7 | -65.5 | -65.1 | -64.8 | Extraction |
| 199-K-144 | 569163 | 147266 | KX | -36.0 | -25.0 | -44.7 | -49.4 | -46.0 | | -46.0 | -45.7 | -40.2 | -48.6 | -55.9 | -59.1 | -59.0 | Extraction |
| 199-K-226 | 569187 | 147039 | KX | -24.0 | -63.5 | -63.5 | -65.1 | -48.4 | | -50.0 | -46.3 | -37.6 | -42.6 | -50.9 | -61.0 | -60.0 | Extraction |
| 199-K-161 | 570005 | 148202 | KX | -10.8 | -19.8 | -20.5 | -15.0 | -22.1 | | -17.1 | -5.5 | -2.3 | -16.3 | -19.0 | -17.4 | -12.4 | Extraction |
| 199-K-147 | 570412 | 148558 | KX | -8.7 | -20.0 | -21.6 | -20.6 | -20.0 | | -20.1 | -19.8 | -19.3 | -21.3 | -21.8 | -21.7 | -17.1 | Extraction |
| 199-K-130 | 570479 | 148661 | KX | -9.3 | -20.8 | -19.9 | -21.2 | -21.1 | | -22.2 | -23.3 | -22.8 | -23.4 | -18.9 | -18.8 | -14.3 | Extraction |
| 199-K-148 | 570585 | 148768 | KX | 0.0 | -11.9 | -27.4 | -26.9 | -27.7 | | -27.5 | -25.0 | -23.9 | -35.1 | -29.4 | -22.2 | -17.5 | Extraction |
| 199-N-189 | 571432 | 148431 | KX | -13.1 | -30.0 | -27.9 | -25.6 | -24.5 | | -24.6 | -26.8 | -29.9 | -32.9 | -31.4 | -29.7 | -23.7 | Extraction |
| 199-K-152 | 570736 | 148586 | KX | -8.8 | -20.0 | -22.5 | -22.6 | -22.6 | | -25.1 | -28.1 | -25.7 | -30.3 | -25.8 | -24.7 | -19.9 | Extraction |
| 199-K-146 | 570198 | 148380 | KX | -4.6 | -10.5 | -8.9 | -8.3 | -8.1 | | -8.5 | -8.4 | -8.7 | -8.8 | -8.5 | -8.5 | -6.9 | Extraction |
| 199-K-182 | 571185 | 148350 | KX | -11.0 | -25.0 | -40.8 | -42.4 | -40.7 | | -40.9 | -42.7 | -39.5 | -41.1 | -38.7 | -36.1 | -26.5 | Extraction |
| 199-K-153 | 570530 | 148210 | KX | -44.2 | -49.2 | -26.1 | -23.5 | -25.7 | | -26.6 | -25.7 | -26.8 | -40.0 | -42.8 | -43.1 | -34.4 | Extraction |
| 199-K-154 | 570321 | 148027 | KX | -45.3 | -41.6 | -3.1 | -27.3 | -45.0 | | -48.3 | -43.4 | -31.6 | -50.0 | -50.0 | -49.6 | -50.8 | Extraction |
| 199-K-163 | 570231 | 147948 | KX | -38.5 | -46.4 | -32.2 | -30.8 | -40.0 | | -40.6 | -35.6 | -32.8 | -50.0 | -50.0 | -50.1 | -51.0 | Extraction |
| 199-K-171 | 570544 | 147188 | KX | -48.7 | -45.5 | -27.8 | -27.0 | -40.0 | | -40.3 | -35.7 | -35.4 | -50.0 | -50.0 | -50.1 | -51.0 | Extraction |
| 199-K-212 | 569954 | 148048 | KX | -33.3 | -15.3 | -47.0 | -50.1 | -41.7 | | -42.5 | -37.4 | -31.3 | -49.2 | -49.9 | -49.7 | -50.2 | Extraction |
| 199-K-193 | 570642 | 146970 | KX | -50.5 | -35.2 | -35.1 | -37.3 | -48.0 | | -48.0 | -40.4 | -31.6 | -45.0 | -49.6 | -50.1 | -50.8 | Extraction |
| 199-K-151 | 570941 | 148686 | KX | 10.1 | 46.6 | 48.4 | 55.0 | 58.0 | | 66.6 | 61.3 | 43.9 | 59.8 | 59.8 | 59.6 | 55.3 | Injection |
| 199-K-149 | 570778 | 148971 | KX | 33.8 | 41.0 | 40.0 | 47.0 | 52.9 | | 64.2 | 58.4 | 39.4 | 54.7 | 54.4 | 53.5 | 49.4 | Injection |
| 199-K-169 | 569989 | 147555 | KX | 119.2 | 125.4 | 127.5 | 121.5 | 116.7 | | 114.0 | 110.4 | 101.4 | 135.0 | 135.1 | 133.4 | 126.6 | Injection |
| 199-K-143 | 570934 | 148088 | KX | 57.8 | 56.1 | 54.7 | 56.4 | 72.1 | | 83.2 | 76.9 | 57.0 | 78.7 | 77.4 | 76.5 | 71.6 | Injection |
| 199-K-179 | 569847 | 147482 | KX | 74.1 | 26.5 | 44.1 | 93.5 | 109.1 | | 91.6 | 90.6 | 100.5 | 126.3 | 124.8 | 128.2 | 121.0 | Injection |
| 199-K-156 | 569674 | 147271 | KX | 81.1 | 83.4 | 82.9 | 80.3 | 80.7 | | 76.5 | 73.9 | 65.7 | 88.4 | 91.6 | 92.6 | 86.9 | Injection |
| 199-K-170 | 570009 | 147491 | KX | 108.5 | 110.0 | 111.6 | 92.5 | 77.8 | | 48.1 | 50.8 | 79.3 | 97.8 | 102.6 | 101.7 | 97.6 | Injection |
| 199-K-164 | 571202 | 148904 | KX | 3.7 | 0.8 | 44.8 | 48.1 | 49.9 | | 58.8 | 53.8 | 37.2 | 49.5 | 47.5 | 44.7 | 40.4 | Injection |
| 199-K-180 | 571116 | 147449 | KX | 8.3 | 39.4 | 39.5 | 45.6 | 47.9 | | 59.3 | 53.7 | 36.1 | 50.7 | 55.6 | 55.1 | 50.1 | Injection |
| 199-K-172 | 570872 | 147166 | KX | 10.2 | 48.7 | 49.8 | 56.8 | 59.3 | | 66.2 | 59.0 | 43.7 | 60.4 | 61.3 | 61.5 | 57.8 | Injection |
| 199-K-162 | 569340 | 147460 | KR4 | -22.3 | -16.4 | -14.8 | -15.0 | -11.3 | | 0.0 | -3.3 | -11.8 | -7.5 | 0.0 | 0.0 | 0.0 | Extraction |
| 199-K-116A | 569871 | 147960 | KR4 | -20.3 | -18.5 | -11.2 | -9.8 | -9.3 | | 0.0 | -3.0 | -8.0 | -3.6 | 0.0 | 0.0 | -1.4 | Extraction |
| 199-K-145 | 569285 | 147426 | KR4 | -14.7 | -14.3 | -12.5 | -14.8 | -14.4 | | -13.4 | -10.3 | -10.1 | -13.7 | -15.5 | -17.9 | -18.8 | Extraction |
| 199-K-127 | 569539 | 147539 | KR4 | -6.3 | -12.2 | -11.2 | -14.2 | -13.0 | | -14.0 | -9.1 | -8.2 | -8.8 | -14.8 | -15.5 | -16.9 | Extraction |
| 199-K-120A | 569400 | 147518 | KR4 | -15.9 | -9.8 | -10.4 | -15.6 | -7.8 | | -13.5 | -9.1 | -7.9 | -7.3 | -12.8 | -13.1 | -18.5 | Extraction |
| 199-K-198 | 569304 | 147552 | KR4 | -16.2 | -15.0 | -13.3 | -15.0 | -13.9 | | -13.4 | -11.7 | -10.7 | -11.3 | -12.8 | -2.8 | -1.5 | Extraction |
| 199-K-199 | 569340 | 147585 | KR4 | -1.3 | -10.8 | -13.3 | -15.0 | -13.9 | | -13.4 | -11.8 | -10.2 | -10.7 | -12.5 | -2.7 | -1.5 | Extraction |
| 199-K-113A | 570098 | 148294 | KR4 | -14.8 | -15.0 | -11.3 | -11.0 | -13.9 | | -13.4 | -10.8 | -10.7 | -10.7 | -7.7 | -10.5 | -10.7 | Extraction |
| 199-K-115A | 569940 | 148135 | KR4 | -19.0 | -16.1 | -11.2 | -13.5 | -14.5 | | -13.5 | -11.3 | -10.2 | -11.0 | -11.4 | -15.4 | -16.4 | Extraction |
| 199-K-129 | 570284 | 148503 | KR4 | -18.2 | -16.2 | -11.9 | -12.2 | -14.0 | | -13.4 | -10.7 | -10.4 | -10.5 | -10.1 | -11.3 | -3.0 | Extraction |
| 199-K-114A | 570020 | 148281 | KR4 | -19.0 | -16.1 | -12.3 | -13.5 | -14.2 | | -13.4 | -10.8 | -10.7 | -10.8 | -10.0 | -11.7 | -20.8 | Extraction |
| 199-K-121A | 570017 | 147418 | KR4 | 17.3 | 18.7 | 19.3 | 22.7 | 22.8 | | 27.3 | 21.4 | 15.5 | 16.5 | 15.0 | 26.8 | 39.7 | Injection |
| 199-K-122A | 569975 | 147173 | KR4 | 37.9 | 33.7 | 37.0 | 37.3 | 32.6 | | 24.2 | 24.4 | 29.8 | 27.0 | 26.5 | 39.3 | 59.7 | Injection |
| 199-K-123A | 569931 | 147090 | KR4 | 20.3 | 20.8 | 10.1 | 25.0 | 17.2 | | -0.1 | 1.3 | 12.8 | 15.5 | 22.9 | 4.4 | 0.0 | Injection |
| 199-K-124A | 569868 | 146992 | KR4 | 43.5 | 40.1 | 20.3 | 12.1 | 16.2 | | 8.1 | 0.9 | 0.0 | 10.9 | 10.7 | 3.5 | 0.0 | Injection |
| 199-K-128 | 570010 | 147258 | KR4 | 44.8 | 42.9 | 43.9 | 49.2 | 48.2 | | 57.6 | 52.1 | 49.4 | 34.4 | 31.1 | 24.8 | 5.7 | Injection |
| 199-K-166 | 568595 | 146343 | KW | -48.4 | -48.4 | -46.7 | -49.0 | -39.4 | | -35.2 | -17.0 | -16.0 | -13.3 | -17.0 | -12.8 | -14.1 | Extraction |
| 199-K-165 | 568675 | 146342 | KW | -45.1 | -43.6 | -43.7 | -43.9 | -43.8 | | -34.6 | -16.7 | -16.0 | -5.6 | -21.1 | -15.5 | -15.8 | Extraction |
| 199-K-137 | 568653 | 146375 | KW | -16.0 | -16.1 | -15.5 | -16.1 | -15.4 | | -21.1 | -19.5 | -16.0 | -9.9 | -16.0 | -13.2 | -11.3 | Extraction |
| 199-K-196 | 568433 | 146639 | KW | -33.9 | -33.5 | -30.6 | -30.9 | -31.8 | | -23.3 | -14.3 | -14.3 | -4.7 | -14.3 | -12.4 | -13.2 | Extraction |
|  |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  |
| 199-K-240 | 569382 | 146378 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | -25 | -77.8 | -86.1 | -79.2 | -85.2 | -112 | -107.8 | Extraction |
| 199-K-158 | 568627 | 146164 | KW | 142.9 | 141.1 | 135.9 | 139.2 | 129.8 | | 132.4 | 125.9 | 102.7 | 68.7 | 113.2 | 153.1 | 161.7 | Injection |
| 199-K-206 | 568734 | 146050 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Injection |
| 199-K-174 | 568915 | 146222 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Injection |
| 199-K-175 | 568883 | 146009 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | Injection |
| INF183.1KE-1 | 569403 | 146388 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| INF183.1KE-2 | 569373 | 146373 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| INF183.1KE-3 | 569388 | 146373 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| INF183.1KE-4 | 569403 | 146373 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| INF183.1KE-5 | 569418 | 146373 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| INF183.1KE-6 | 569373 | 146358 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| INF183.1KE-7 | 569388 | 146358 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| INF183.1KE-8 | 569403 | 146358 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| INF183.1KE-9 | 569373 | 146343 | KW | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | | 0.3 | 2.0 | 5.0 | 5.2 | 4.2 | 1.5 | 0.0 | Gallery |
| 199-D4-38 | 572671 | 151538 | DX | -8.2 | -8.6 | -8.8 | -8.7 | -8.7 | | -9.0 | -8.6 | -8.8 | -8.8 | -8.8 | -8.6 | -8.8 | Extraction |
| 199-D4-39 | 572747 | 151651 | DX | -15.8 | -16.7 | -14.3 | -11.4 | -12.1 | | -18.2 | -17.2 | -13.3 | -10.1 | -7.2 | -9.1 | -9.9 | Extraction |
| 199-D4-83 | 572859 | 151723 | DX | -8.1 | -10.5 | -7.7 | -4.9 | -2.0 | | -12.0 | -12.7 | -9.9 | -6.6 | -4.3 | -1.1 | 0.0 | Extraction |
| 199-D4-84 | 572568 | 151434 | DX | -3.1 | -6.7 | -6.9 | -5.0 | -4.3 | | -11.4 | -11.2 | -8.1 | -5.8 | -4.3 | -4.9 | -5.4 | Extraction |
| 199-D4-85 | 572486 | 151324 | DX | -17.5 | -20.7 | -20.9 | -11.9 | 0.0 | | 0.0 | 0.0 | 0.0 | 0.0 | -9.7 | -19.3 | -18.2 | Extraction |
| 199-D4-95 | 572613 | 151227 | DX | -1.4 | 0.0 | -5.9 | -21.9 | -21.4 | | -19.9 | -19.1 | -20.6 | -18.0 | -11.9 | -13.4 | -13.7 | Extraction |
| 199-D4-96 | 572777 | 151520 | DX | -10.7 | -12.1 | -12.3 | -9.4 | -9.7 | | -15.7 | -17.3 | -15.6 | -10.8 | -6.2 | -7.4 | -8.7 | Extraction |
| 199-D4-97 | 572906 | 151625 | DX | -11.8 | -13.5 | -13.7 | -13.6 | -13.4 | | -13.7 | -13.3 | -13.2 | -13.8 | -13.5 | -13.2 | -13.4 | Extraction |
| 199-D4-98 | 572575 | 151482 | DX | -13.5 | -13.9 | -14.1 | -14.0 | -13.8 | | -14.2 | -13.1 | -13.1 | -11.9 | -13.1 | -12.8 | -13.2 | Extraction |
| 199-D4-99 | 572527 | 151377 | DX | -20.1 | -20.4 | -20.7 | -20.3 | -20.0 | | -18.7 | -17.4 | -18.1 | -15.5 | -17.6 | -14.9 | -16.1 | Extraction |
| 199-D5-101 | 572943 | 151522 | DX | 0.0 | 0.0 | -9.6 | -27.7 | -25.6 | | -24.7 | -21.3 | -24.8 | -23.6 | -9.1 | -15.5 | -19.7 | Extraction |
| 199-D5-127 | 572992 | 151428 | DX | -18.4 | -18.3 | -18.5 | -18.3 | -17.9 | | -17.8 | -16.8 | -17.5 | -17.5 | -17.9 | -17.0 | -17.4 | Extraction |
| 199-D5-104 | 573265 | 151422 | DX | -15.6 | -17.1 | -14.9 | -14.5 | -13.0 | | -13.0 | -16.0 | -18.3 | -15.4 | -13.9 | -15.1 | -15.4 | Extraction |
| 199-D8-53 | 573890 | 152452 | DX | -21.1 | -21.5 | -21.1 | -21.7 | -21.3 | | -20.0 | -21.0 | -18.5 | -21.6 | -21.4 | -21.1 | -21.7 | Extraction |
| Note: Rates reported in gal/min. Coordinates are in Washington State Plane South (FIPS 4602) using the *North American Datum of 1983* (NAD83). a. RUM-2 well; not included in model simulation of the unconfined aquifer.  ‑‑ = well was not connected to the P&T for indicated operation during this period.  CY = calendar year  RUM-2 = First water-bearing unit of Ringold Formation upper mud | | | | | | | | | | | | | | | | | |
|  | | | | | | | | |  | | | | | | | | |